## Sheet2
ITEM DESCRIPTION | UNIT | QTY | ANM FISCHER | SHAPROOGI FISCHER | ANM HILTI | Arai HILTI
Base Prices for closing wall openings - Single side/both sides as per requirement. Service penetrations to be charged extra as per the unit rates mentioned. |  |  | BLANK OPENINGS |  | BLANK OPENINGS
Survey - identifying the required work in a given area and identifying the suitable fire stop systems (UL / EJ) with layout plan and drawing | point | 1 | NON | NON | NON | 20
Wall opening size from 0.01M2up to 0.10 M2 closing by (RED SEALANT) | piece | 1 | 285 | MISS | 350 | 344.75
Wall opening size from 0.11M2up to 0.25 M2 closing by (RED SEALANT) | piece | 1 | 570 | MISS | 750 | 738.75
Wall opening size from 0.26M2up to 0.50 M2 closing by (RED SEALANT) | piece | 1 | 950 | MISS | 1200 | 1182
Wall opening size from 0.51M2up to 0.70 M2 closing by (RED SEALANT) | piece | 1 | 1530 | MISS | 1768 | 1743.45
Wall opening size from 0.01M2up to 0.10 M2 closing by (WHITE BOARD) | piece | 1 | 280 | MISS | 350 | NON
Wall opening size from 0.11M2up to 0.25 M2 closing by (WHITE BOARD) | piece | 1 | 570 | MISS | 750 | 750
Wall opening size from 0.26M2up to 0.50 M2 closing by (WHITE BOARD) | piece | 1 | 950 | MISS | 1200 | 1200
Wall opening size from 0.51M2up to 1.00M2 closing by (WHITE BOARD) | piece | 1 | 1530 | MISS | 1990 | 1990
Wall opening size from FROM 1.00 upto 4.00 m2 closing by (WHITE BOARD) | AREA (M2) |  |  | MISS |  | 1990
Wall opening size from 1.01M2up to 1.50M2 closing by (WHITE BOARD) | piece | 1 | 2300
Wall opening size from 1.51M2up to 2.00M2 closing by (WHITE BOARD) | piece | 1 | 2850 | MISS
Wall opening size from 2.01M2up to 3.00M2 closing by (WHITE BOARD) | piece | 1 | 4300 | MISS
Wall opening size from 3.00M2up to 4.00 M2 closing by (WHITE BOARD) | piece | 1 | 5750 | MISS
Opening size up to 0.10 m2 closing by (RED FOAM) | piece | 1 | NON | NON | NON | 492.5
Opening size up to 0.25 m2 closing by (RED FOAM) | piece | 1 | NON | NON | NON | 1034.25
Opening size up to 0.50 m2 closing by (RED FOAM) | piece | 1 | NON | NON | NON | 1576
Opening size up to 0.10 m2 closing by (WHITE SEALANT) | piece | 1 | NON | NON | NON | 394
Opening size up to 0.25 m2 closing by (WHITE SEALANT) | piece | 1 | NON | NON | NON | 807
Opening size up to 0.50 m2 closing by (WHITE SEALANT) | piece | 1 | NON | NON | NON | 1295
Closing blank or multi wall opening by (FIRSTOP MORTAR) | AREA (M2) | 1 | 1530 | MISS | 1990 | 1990
Aditional charge for the type of service penetrating |  |  | ADDITIONALS |  | ADDITIONALS
Fire Stopping System - Pipes Non- Metal: |  |  | Fire Stopping System - Pipes Non- Metal: |  | Fire Stopping System - Pipes Non- Metal:
PVC Pipe upto 300mm | piece | 1 | 795 | MISS | 1300 | 1280.5
PVC Pipe upto 250mm | piece | 1 | 645 | MISS | 1100 | 1083.5
PVC Pipe upto 200mm | piece | 1 | 395 | MISS | 680 | 669.8
Non-Metallic pipe up to 175mm diameter | piece | 1 | NON | 630 | NON | NON
PVC Pipe upto 150mm | piece | 1 | 295 | 585 | 353 | 347.705
PVC Pipe upto 100mm | piece | 1 | 195 | 135 | 250 | 246.25
PVC Pipe upto 75mm | piece | 1 | 145 | MISS | 180 | 172.375
PVC Pipe upto 50mm | piece | 1 | 78 | MISS | 104 | 98.5
Non-Metallic pipe up to 40mm diameter | piece | 1 | NON | 90 | NON | NON
Fire Stopping System - Pipes insulated Metal |  |  | Fire Stopping System - Pipes insulated Metal |  | Fire Stopping System - Pipes insulated Metal
Insulated Metal Pipe upto 300mm | piece | 1 | 225 | MISS | 270 | 265.95
Insulated Metal Pipe upto 250mm | piece | 1 | 205 | MISS | 230 | 226.55
Insulated Metal Pipe upto 200mm | piece | 1 | 185 | MISS | 224 | 221.625
Insulated Metal Pipe upto 150mm | piece | 1 | 172 | 216 | 214 | 211.775
Insulated Metallic pipe up to 125mm diameter | piece | 1 | NON | 198 | NON | NON
Insulated Metal Pipe upto 100mm | piece | 1 | 155 | MISS | 185 | 182.225
Insulated Metal Pipe upto 75mm | piece | 1 | 125 | MISS | 165 | 162.525
Insulated Metal Pipe upto 50mm | piece | 1 | 75 | MISS | 120 | 118.2
Fire Stopping System - Pipes Metal: |  |  | Fire Stopping System - Pipes Metal: |  | Fire Stopping System - Pipes Metal:
Metal Pipe upto 300mm | piece | 1 | 175 | MISS | 224 | 221.625
Metal Pipe upto 250mm | piece | 1 | 165 | MISS | 203 | 201.925
Metal Pipe upto 200mm | piece | 1 | 155 | MISS | 199 | 197
Metal Pipe upto 150mm | piece | 1 | 145 | MISS | 166 | 162.525
Metal Pipe upto 100mm | piece | 1 | 123 | 108 | 155 | 152.675
Metal Pipe upto 75mm | piece | 1 | 110 | 90 | 146 | 142.825
Metal Pipe upto 50mm | piece | 1 | 70 | 75 | 102 | 103.425
Metallic pipe up to 25mm diameter | piece | 1 | NON | 40 | NON | NON
Fire Stopping System - Air Duct: |  |  | Fire Stopping System - Air Duct: |  | Fire Stopping System - Air Duct:
Insulated Metal ducts (LM is considered for peripheral length) | L.M | 1 | 240 | 360 | 320 | 335
Non insulated Metal ducts/Duct Damper (LM is considered for peripheral length) | L.M | 1 | 240 | 160 | 310 | 305.35
Fire Stopping System - Electrical: |  |  | Fire Stopping System - Electrical: |  | Fire Stopping System - Electrical:
Bus bar (LM is considered for peripheral length) | L.M | 1 | 235 | MISS | 317 | 330
Cable trunking / Cable tray (LM is considered for peripheral length) | L.M | 1 | 235 | 288 | 316 | 310.275
Cables (LM is considered for peripheral length) | L.M | 1 | 235 | MISS | 316 | 295.5
Supply and Apply of Fire Stopping Systems - ( Civil Joints & Expansion Joints) |  |  | ( Civil Joints & Expansion Joints) |  | ( Civil Joints & Expansion Joints)
Head-of-Wall Civil Joint up to 20mm width | L.M | 1 | NON | 50 | NON | 64.025
Head-of-Wall Civil Joint up to 30mm width | L.M | 1 | NON | 80 | NON | NON
Head-of-Wall Civil Joint up to 40mm width | L.M | 1 | NON | 110 | NON | 118.2
Head-of-Wall Civil Joint up to 50mm width | L.M | 1 | NON | 135 | NON | 162.525
Fire Sealant for Metal Doors Frame up to 12 mm | L.M | 1 | NON | 50 | NON | NON
Non Fire Slealant for Metal Doors Frame Up to 12mm | L.M | 1 | NON | 40 | NON | NON